DRAFT

BASIC	Amendment (201x)

PUBLICATION	to OIML B 10

Edition 2011 (E)

---------------------------------------------------------------------------------------

Framework for a Mutual Acceptance Arrangement

on OIML Type Evaluations

Amendment (201x)

Cadre pour un Arrangement d’Acceptation Mutuelle sur les

Évaluations de Type de l’OIML

Amendement (201x)

-------------------------------------------------------------------------------------------

ORGANISATION INTERNATIONALE

DE MÉTROLOGIE LÉGALE
---------------------------------------------------

INTERNATIONAL ORGANIZATION

OF LEGAL METROLOGY

1	Introduction

The revised version of OIML B 10 was approved by the 46th CIML meeting in 2011. At the same meeting the CIML approved a new work item for OIML TC 3/SC 5 to include appropriate conditions for the registration of Manufacturers’ Testing Laboratories (MTLs) under a DoMC, as an amendment to, or revision of, OIML B10.

Considering the effort necessary to revise again this Publication, TC 3/SC 5 has chosen to draw up an Amendment to B 10 that will be incorporated into B10 at its next revision.

This Amendment was approved for final publication by the International Committee of Legal Metrology in 201x and supersedes the respective sections of OIML B 10 dated 2011.

2	Amendment (201x) to OIML B 10 (2011) (E)

2.1	Section 3.19 (new)

3.19 Manufacturer’s Testing Laboratory (MTL)

A testing laboratory (OIML B 3, 3.16 [4]) of a manufacturer (OIML B 3, 3.17 [4]) that is designated by an OIML Issuing Participant, and registered in a DoMC, that performs specific tests under controlled supervision (as defined in 4.5) or as a subcontracting laboratory of an Issuing Participant.

Note:
An MTL may conduct tests for the parent company and/or for other companies. The requirements for controlled supervision (as defined in 4.5) apply if tests are performed for the parent company. Otherwise the MTL is considered as a third-party (subcontracting) testing laboratory, in which case the requirements for third-party laboratories must be satisfied.

2.2	Section 4.4

Issuing Participants shall request the registration of Testing Laboratories (internal and/or subcontracting) that will be responsible for issuing MAA Test Reports. In addition to its internal and/or subcontracting Testing Laboratory, an Issuing Participant may, under the provisions of 4.5, designate one or more MTLs, the test results of which are to be utilized. All those Testing Laboratories shall be assessed either by accreditation or peer assessment using requirements that comply with ISO/IEC 17025 [8] and OIML D30 [12] for the scope of the DoMC as defined in 4.3.

2.3	Section 4.5 (new)

4.5	In addition to 4.1 through 4.4 the following applies for MTLs.

4.5.1	In order to prevent potential conflicts of interest the MTL is under controlled supervision of the related Issuing Participant. This includes at least the following safeguards:

- There are clear and documented instructions for the MTL concerning the test program and the equipment under test (EUT);

- There are clear and documented instructions for the MTL for the case that the EUT fails before the test program is finished;

- The Issuing Participant is informed when the MTL starts and finishes the agreed tests;

- The Issuing Participant or an authorized representative is allowed to make short-notice visits to the manufacturer’s site to witness tests performed at the MTL as considered necessary by the Issuing Participant;

- After finishing the tests, the Issuing Participant may request the (identical) EUT (or a representative number of EUTs in case of family testing) to be submitted to its internal and/or subcontracting laboratory for re-tests (spotchecks) that the Issuing Participant considers necessary; for these re-tests the Issuing Participant may - with the applicant’s consent - use another Issuing Participant’s registered laboratory;

4.5.2	The Issuing Participant must have the ability to, and shall, exercise a controlled supervision as defined in 4.5.1. The safeguards and actions to be taken in case of a failure of the EUT have to be documented by written procedures in the quality management systems of both the manufacturer and the Issuing Participant, and their effectiveness is subject to regular re-audits.

4.5.3	In order to ensure sufficient independence and impartiality of the MTL as part of a larger organization (company) the quality manual and other supporting documents of the organization shall demonstrate that there are suitable provisions that ensure that the MTLs’ personnel is free from any undue commercial, financial and other pressures which might influence their technical judgement. In particular, the following is mandatory:

- The MTL is a clearly defined organizational unit (OU) within the company, or part of such an OU, where adequate procedures define the specific responsibilities of the MTL and the interactions between the MTL and other OUs of the company;

- There is an organizational chart that shows the existence and organizational embedment of the MTL;

- The MTL staff, including the head of the MTL, is identified and their competences and responsibilities are described;

- The head of the MTL is free of any responsibilities which might influence its technical judgement, and he/she is responsible to a member of the top management in all technical conclusions.

4.5.4	The suitability and effectiveness of the above procedures are evaluated as part of the ISO/IEC 17025 accreditation or peer assessment (see OIML D30).

4.5.5	Several Issuing Participants may designate the same MTL. In this case one of these shall be identified as the principal one being responsible for the procedures and information required according to 4.5.1 through 4.5.4.

2.4	Section 5.2

For potential Issuing Participants only:

Information about its competence as defined in 4.2 of OIML B 3 [4];

A list of all testing laboratories (subcontracting, internal, MTLs) indicating, for each one, which tests and examinations of the relevant OIML Recommendation and of additional national requirements included in the scope of the DoMC, if applicable, it performs;

Information about its type testing capabilities (including those of its designated subcontracting testing laboratories and MTLs, if any);

In case of an MTL: the procedures between the Issuing Participant and the MTL to manage the controlled supervision according to 4.5.1;

The certificates of accreditation of the testing laboratories and their most recent accreditation assessment report which includes the relevant scope of the DoMC and enough information that an assessment of the legal metrology aspects of the accreditation can be determined, if accreditation applies;

The most recent internal audit of each testing laboratory (whether it is accredited or not) conducted on the basis of ISO/IEC 17025 [8] and OIML D 30 [12] for the relevant scope of the DoMC;

The results of intercomparisons conducted in the relevant field, if any;

A copy of the most recent OIML Basic Type Evaluation Report issued for the considered category in the event that the potential Issuing Participant is already an OIML Issuing Authority (OIML B 3, 3.15 [4]) for the relevant category.

2.5	Section 10.1

A DoMC may be revised to:

- Include new Participants and/or Testing Laboratories;

- Withdraw Participants and/or Testing Laboratories;

- Change the status of participation of certain Participants;

- Revise its scope (e.g. inclusion of a new edition of the relevant OIML Recommendation, inclusion of new additional national requirements).